## Equipment
| No. | Equipment name | Usage purpose | Brand (Producer) | Date of production | Technical specification of the equipment | Maintainence measurements (Do you have any measurments to maintain the equipment?) | Calibration information
[8 empty] | Peroid (how frequency you calibrate the equipment?) | Traceability (where you calibrate the equipment?) | Calibration results | Uncertainty
Example | 1 | Integrating sphere | Testing luminous flux, CRI, & electrical parameters | Lisun Group | 2014-11-11 | Diameter: 2,5m / read range: 0-1999990 lumen / 4500W / Configuration 4π | Every six months | Two years | National Metrology Insititution | Good | Luminous flux:Urel=1.5%(k=2). Color temperature:U=35K(k=2) . Voltage:1,0 (k=2). Current:0,002(K=2), Power:0,2(K=2)
2
3
4
5
6
7
8
9
10
11
12
13

## Personnel
| No. | Name | Education background | How long does he/she work at lighting laboratory? | His/her main responsibility in the lighting laboratory | Does he/she be trained for lighting test? | Which training for lighting test? And How long? | Does he/she be trained for ISO/IEC 17025? | Which training for ISO/IEC 17025? And How long? | Have you participated any Proficiency Testing or Inter-laboratory comparsion test before? If YES, please listed the related testing items and main equipment used
Example: | 1 | Tom Smith | Bachelor's degree on Materials Engineering | 2 years | Testing Engineer | Yes | Photometric testing course (2 days), Practical lighting test (1 day) | No | N/A | Yes, Integrating sphere, photometric and colorimetric parameters
2
3
4
5

## Environment
Environment questions |  | Answers
Q1 | Do you have air conditioner in each room?
Q2 | Do you record the temperature in your lab?
Q3 | Do you record the huminity in your lab?
Q4 | Have you tested the ground resistance of power supply in your lab? If so, can you please give the result?
Q5 | Are there any factories, electrical facilities close to your laboratory?
Q6 | If answering yes in Q5: is the voltage in your laboraotry effected by the factories or electrical facilities? About how many percentage it is effected?

## Management
Laboratory management questions |  | Answers
Q1 | Does your lab have Management Manual?
Q2 | Does your lab have work instruction documents?
Q3 | Does your lab have other management documents?
Q4 | Has your lab conducted any Internal audit?
Q5 | Has your lab conducted any management review?
Q6 | How long has your laboratory been running?
Q7 | Can you please provide the laboratory organization structurue and laboratory layout?
Q8 | Can you please list the standards it for your Laboratory accreditation?
Q9 | Is it possilbe to provde an English copy of management manual?