TECHNOLOGY FACT SHEET

Desalination

# Technology description

Desalination is the removal of sodium chloride and other dissolved constituents from seawater, brackish waters, wastewater, or contaminated freshwater. Approximately 75 million people worldwide rely on desalination and that number is expected to grow as freshwater resources are stressed by population growth and millions more move to coastal cities with inadequate freshwater resources. Desalination is most widely used in arid regions; more than half of the world’s desalination capacity (volume) is located in the Middle East and North Africa. Seawater accounts for over 50% of desalination source water worldwide. However, as of 2005 in the United States, only 7% of desalination plants used seawater. Brackish waters made up the majority of source waters for desalination, with most of the remainder consisting of river waters and wastewaters.

Two streams of water result from desalination: (1) a pure product water and (2) a high-concentration waste stream or brine. The principal desalination methods fall into two categories: thermal processes and membrane processes.

Table 1: Technology options

| Technology options | Option description |
| --- | --- |
| Multi-Stage Flash (MSF) Distillation | MSF was reported to account for 36% of desalination worldwide in 2005. MSF improves on the energy efficiency of simple distillation by utilizing a series of low-pressure chambers, recycling waste heat and, in some cases, can be operated at even greater efficiency by utilising the waste heat from an adjacent power plant. |
| Multiple-effect Distillation (MED) | MEE utilizes low-pressure chambers; it is possible to achieve much greater efficiency in MEE than in MSF. However, MEE is not as popular because early designs were plagued by mineral scaling. Newer designs have reduced mineral scaling and MED is gaining in popularity. Global Desalination capacity in 2005 was 3%.. |
| Vapour Compression Distillation (VCD) | VCD is a technically simple, reliable and efficient process that is popular for resorts, industries and work sites where adequate freshwater is unavailable. Global capacity as at 2005 was reported to be at 5%. |
| Reverse Osmosis (RO) | RO utilize high pressure to force water molecules through very small pores (holes) while retaining salts and other larger molecules. is the most widely used membrane desalination technology, and represented 46% of global desalination capacity in 2005. |
| Solar distillation (SD) | SD has been used for many years, usually for comparatively small plant outputs. In common with all distillation processes, SD utilises the evaporation and condensation modes, but unlike other processes energy consumption is not a recurrent cost but is incorporated in the capital cost of the solar collector. |

# Contributions to climate change adaptation

Desalination can greatly aid climate change adaptation, primarily through diversification of water supply and resilience to water quality degradation. Diversification of water supply can provide alternative or supplementary sources of water when current water resources are inadequate in quantity or quality. Desalination technologies also provide resilience to water quality degradation because they can usually produce very pure product water, even from highly contaminated source waters.

Increasing resilience to reduce per capita freshwater availability is one of the key challenges of climate change adaptation. Both short-term drought and longer-term climatic trends of decreased precipitation can lead to decreased water availability per capita. These climatic trends are occurring in parallel with population growth, land use change, and groundwater depletion; therefore, rapid decreases in per capita freshwater availability are likely.

However, the large energy demands of current desalination processes will contribute to greenhouse gas emissions and could set back climate-change mitigation efforts.

# Contribution to development and potential beneficiaries

Access to an adequate supply of freshwater for drinking, household, commercial and industrial use is essential for health, well-being, and economic development. Desalination processes can provide access to abundant saline waters that have been previously unusable.

# Knowledge/capacity building requirements

The major needs identified include the inadequacy of:

- information and data resource assessment specifically on desalination

- technical capabilities

- financial resources dedicated to research

- national policies in long-term planning and establishment of institutional infrastructures for

- management and operation of desalination

Capacity building needs for desalination includes the following components

- current and future training and education requirements need to be established by identifying appropriate education which should include higher level research degrees (MSc and PhD) in relevant science and technology areas. This is formal education.

- Research and development

- Knowledge and information exchange through training and informal education in the public and private sectors.

- Desalination training facility could be established.

# Institutional arrangements

Desalination should be into energy policies and energy co-production, the role of private enterprise, and how to distribute and charge for desalinated water.

Many of the recommendations for development of desalination relate to remedying broader problems in the water sector. Desalination requires substantial economic investment; therefore inefficiencies, waste, and low-level equilibria in the water sector can be compounded when desalination is implemented.

Key recommendations for governments exploring development of desalination include:

- Develop a clear water policy using an integrated water resources management (IWRM) approach to determine accurately renewable freshwater resource potential, demand and consumption. Only when the adequacy of conventional water resources is understood should development of nonconventional (e.g. saline) water resources be pursued.

- Implement conservation and water demand management in all sectors. Key methods include reduction of non-revenue water in piped systems, use of only limited targeted subsidies, and prevention of groundwater pollution.

- Consider desalination in combination with other non-conventional water sources including reuse of treated wastewater, importation of water across boundaries, rainwater harvesting and micro-catchments.

# Cost of implementation

A recently published review of desalination cost literature has shown that the costs are very much site-specific and the cost per volume treated can vary widely. The factors reported to have the greatest influence on the cost per m3 include: the cost of energy, the scale of the plant, and the salt/total dissolved solids (TDS) content of the source water. Capital costs of construction are clearly a major consideration as well, but are almost entirely site specific.

The capital and operating costs of seawater desalination plants have decreased significantly in real terms. This is due to several factors, such as; -

Capital costs

- Process design improvements,

- Membrane performance development and lower cost per m2 (RO),

- Manufacturing methods and increased volume,

- Increased competition.

Operating costs

- Process performance,

- Membrane life (RO),

- Energy efficiency improvements,

- Inter-stage boost pumping (RO),

- Improved chemicals,

- Reduced corrosion,

- Privatisation

The cost of membrane desalination decreases sharply as the salt concentration decreases. Seawater, on average, contains about 35,000 mg/L TDS; brackish waters, at 1000-10,000 mg/L, can be treated much less expensively. The costs per volume to desalinate brackish water using RO have generally been reported to range from $0.26-0.54/m3 for large plants producing 5000-60,000 m3/day and are much higher ($0.78-1.33/m3) for plants producing less than 1000 m3/day. Cost per volume for seawater RO are reported to be $0.44-1.62/m3 for plants producing more than 12,000 m3/day. Note also that RO is more expensive for sea water than for blackish/waste water standing at 1.0 $/m and 0.6 $/m3, respectively.

Thermal methods (generally used to desalinate seawater) are subject to the same economies of scale. Costs for thermal desalination plants were reported to be $2-2.60/m3 for 1000-1200 m3/day and $0.52- 1.95/m3 for plants producing more than 12,000 m3/day

More specifically, costs extracted from two studies

Table 1: Cost associated with desalination technologies

| Technology options | Specific Investment costs ($/m3/year) | Capital Production costs ($/m3) | Global capacity (m3/day) |
| --- | --- | --- | --- |
| Multi-Stage Flash (MSF) Distillation | 0.75 | 1.34 | 13.4 |
| Multiple-effect Distillation (MED) | 0.91 | 1.45 | 0.9 |
| Vapour Compression Distillation (VCD) | 0.65 | 1.15 | 1.6 |
| Reverse Osmosis (RO) | 0.93 | 1.81 | 14 |

Points to note:

- Existing MSF and RO plants are powered mainly by conventional sources of energy

- Coupling of renewable energy sources (RES) and desalination systems is holding great promise.

- Current higher cost of RES is counterbalanced by their environmental benefits

An alternate view for comparing MSF, MED, CDV and RO is shown in the following table: Cost with relative to RO

| Cost component | MSF | MED | VCD | RO |
| --- | --- | --- | --- | --- |
| Capital investment | 120 | 114 | 118 | 100 |
| Energy related costs | 215 | 175 | 140 | 100 |
| Membrane replacement | ----- | ----- | ----- | 100 |
| Other remaining costs | 103 | 89 | 100 | 100 |
| Overall production cost | 114 | 109 | 107 | 100 |

Table below compares various solar desalination options and their current state of development.

| Technology options | Technical Capacity | Energy demand (kWh/m3) | Water Cost ($/m3) | Innovation Stage |
| --- | --- | --- | --- | --- |
| Solar stills | < 0.1m3/day | Solar passive | 1.3 – 6.5 | Application |
| Solar-Multiple Effect Humidification | 1–100 m3/day | thermal: 100 electrical: 1.5 | 2.6 – 6.5 | R&D Application |
| Solar-Membrane Distillation | 0.15–10 m3/day | thermal: 150–200 | 10.4–19.5 | R&D |
| Solar/CSP-Multiple Effect Distillation | > 5,000 m3/day | thermal: 60–70 electrical: 1.5–2 | 2.3–2.9 (possible cost) | R&D |
| Photovoltaic- Reverse Osmosis | < 100 m3/day | electrical: BW: 0.5–1.5 SW: 4-5 | BW: 6.5–9.1 SW: 11.7–15.6 | R&D Application |
| Photovoltaic- Electrodialysis Reversed | < 100 m3/day | electrical: only BW:3–4 | BW:10.4–11.7 | R&D |

BW: Blackish water

SW: Salt water

# Current status of diffusion of the technology in Namibia and potential private sector involvement

In 2007, NAMIBIA'S water utility, NamWater, and the UraMin mining company signed an agreement to prepare for the construction of two water desalination plants north of Wlotzkasbaken. UraMin intends to mine uranium near Trekkopje and will have substantial water requirements. The first stage is a N$250 million seawater intake and a pipeline to bring the water of the Atlantic Ocean to the shore three kilometres north of Wlotzkasbaken. 
The next stage is a US$110 million (about N$710 million) seawater desalination plant for UraMin and a second one for NamWater costing approximately the same amount. The plants, together with the intake and pipeline, amount to a total investment of roughly N$1,67 billion.

AREVA Resources Namibia has also built the first seawater desalination plant in southern Africa.

# Opportunities and barriers

Desalination enables utilities in many water poor areas to access a nearly unlimited water resource. However, implementing desalination can sometimes exacerbate the problems of a poorly functioning water sector. Therefore, the best opportunities for implementation are in water sectors that are functioning well, with well-defined water policy, well-characterized water resource availability and demand, technical expertise, and relatively little waste and inefficiency.

Opportunities for desalination are greatest when:

- Freshwater resources are inadequate to meet demand (water stress or water scarcity)

- For membrane systems, an abundant source of brackish water with low salt/TDS concentration is available; or, for thermal systems, the population is located on a coastline with an adjacent facility (e.g., a power plant) that yields abundant waste heat

- Consumers are opposed to the reuse of treated wastewater (see the chapter entitled Wastewater Reuse)

Barriers to desalination include environmental impacts. These include: effects of the concentrated waste stream on ecosystems; the impact of seawater intakes on aquatic life; and greenhouse gas emissions.

However, the environmental impacts of desalination must be weighed against those of expanding use of freshwater sources (e.g. groundwater depletion, diverting surface water flows). Although RO product water is almost totally pure, it is possible that some compounds of possible concern could get into product water; pre-treatment or post-treatment processes can be used to address the few compounds that are not removed well by RO (e.g., boron).

# References

Elliott, M., Armstrong, A., Lobuglio, J. and Bartram J. (2011) Technologies for climate change adaptation – The water sector. United Nations Environmental Programme (UNEP). [Available from http://www.tech-action.org/Publications/TNA-Guidebooks]

Frioui, S. and Oumeddour, R. (2008). Investment and production cost of desalination plants by semi-empirical methods. Desalination, 223, 457 – 463.

IEA and IRENA (2012). Water desalination using renewable energy: Technology brief. International Energy Agency (IEA) and International Renewable Energy Aganecy (IRENA). [Available from https://www.irena.org/DocumentDownloads/Publications/IRENA-ETSAP%20 Tech%20Brief%20I12%20Water-Desalination.pdf]

World Bank (2004). Seawater and brackish water desalination in the Middle East, North Africa and Central Asia. A review of key issues and experience in six countries. [Available from http://siteresources.worldbank.org/INTWSS/Resources/Desal_mainreport-Final2.pdf]